## CSV_5_fetuin_dualM-highZslopes
Sequence source: | P12763fet
Protein name(s): | Alpha-2-HS-glycoprotein
Glycan source: | genericlibrary
Digestion types: | trypsin
Max miss cleavages: | 1
Matching tolerance: | 20
Fragment tolerance: | 55
Total Matches: | 380
Decoy Matches: | 162
pre Rescore passes | 62
post Rescore passes | 62
first threshold | 46
score threshold | 46
(3rd ordering) | [9 empty] | (1st ordering) | (2nd ordering)
Feature No. | Mass Match No. | Protein | Peptide Theoretical Mass | Glycan Theoretical Mass | GP Theoretical Mass | isotopeError | GP Actual Mass | ppm Error | z | GP Compound MZ | Glycosylation Site Position | Mass Match Score | Highest Score - 2nd Highest Score in Feature | Number of Score Occurrences | RT | Nonstandard Glycan Components | Peptide Matches (Score 5) | Backbone Matches | Peptide Sequence | Hex | HexNAc | DeoxyHex | Sialic Acid (Neu5Ac and Neu5Gc) | is Decoy? | Mass Match Intensity
296 | 49 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | 0 | 4072.6997 | -0.29 ppm | 4 | 1019.1822 | 156 | 120.3565 | Only 1 match | 1 | 24.411 | not any | 12 | 12 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
349 | 100 | Alpha-2-HS-glycoprotein | 1739.8335 | 2222.783 | 3944.6059 | 0 | 3944.6033 | -0.67 ppm | 4 | 987.1581 | 156 | 103.7388 | 75 | 1 | 25.761 | not any | 10 | 11 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
350 | 102 | Alpha-2-HS-glycoprotein | 1739.8335 | 2222.783 | 3944.6059 | 0 | 3944.6033 | -0.67 ppm | 4 | 987.1581 | 156 | 98.6535 | 81 | 1 | 25.797 | not any | 9 | 10 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
274 | 34 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | 0 | 4072.6997 | -0.29 ppm | 4 | 1019.1822 | 156 | 88.7375 | Only 1 match | 1 | 23.819 | not any | 11 | 5 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
268 | 28 | Alpha-2-HS-glycoprotein | 1867.9284 | 1931.6876 | 3781.6055 | 0 | 3781.6165 | 2.92 ppm | 4 | 946.4114 | 156 | 85.6775 | Only 1 match | 1 | 23.634 | not any | 7 | 10 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 0 | None
317 | 70 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | 0 | 4728.9237 | -1.02 ppm | 4 | 1183.2382 | 156 | 85.6775 | 67 | 1 | 25.004 | not any | 8 | 9 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
332 | 87 | Alpha-2-HS-glycoprotein | 1739.8335 | 2733.9731 | 4455.796 | 0 | 4455.7677 | -6.36 ppm | 4 | 1114.9492 | 156 | 85.4319 | Only 1 match | 1 | 25.271 | not any | 7 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 0 | None
330 | 84 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | 0 | 4437.8361 | 0.68 ppm | 4 | 1110.4663 | 156 | 84.6576 | Only 1 match | 1 | 25.248 | not any | 9 | 7 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
384 | 125 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.8825 | 10.64 ppm | 4 | 1151.2279 | 156 | 83.3978 | 47 | 1 | 26.757 | not any | 7 | 10 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
275 | 35 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | 0 | 4437.8361 | 0.68 ppm | 4 | 1110.4663 | 156 | 81.5977 | Only 1 match | 1 | 23.833 | not any | 10 | 4 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
331 | 85 | Alpha-2-HS-glycoprotein | 1739.8335 | 2222.783 | 3944.6059 | 0 | 3944.6033 | -0.67 ppm | 4 | 987.1581 | 156 | 81.3637 | 60 | 1 | 25.259 | not any | 8 | 7 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
264 | 26 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | -1 | 4072.7183 | 4.29 ppm | 4 | 1019.1869 | 156 | 80.5777 | Only 1 match | 1 | 23.503 | not any | 10 | 4 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
360 | 109 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.8825 | 10.64 ppm | 4 | 1151.2279 | 156 | 80.3467 | 41 | 1 | 26.197 | not any | 8 | 7 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
265 | 27 | Alpha-2-HS-glycoprotein | 1867.9284 | 1931.6876 | 3781.6055 | -2 | 3781.5986 | -1.82 ppm | 4 | 946.4069 | 156 | 79.5577 | Only 1 match | 1 | 23.539 | not any | 8 | 7 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 0 | None
297 | 51 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | 0 | 4728.9237 | -1.02 ppm | 4 | 1183.2382 | 156 | 79.5577 | 59 | 1 | 24.44 | not any | 8 | 7 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
303 | 57 | Alpha-2-HS-glycoprotein | 1739.8335 | 2077.7455 | 3799.5684 | 0 | 3799.5845 | 4.23 ppm | 4 | 950.9034 | 156 | 77.2956 | Only 1 match | 1 | 24.546 | not any | 7 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 1 | 1 | 0 | None
277 | 36 | Alpha-2-HS-glycoprotein | 1867.9284 | 2733.9731 | 4583.891 | 0 | 4583.8641 | -5.87 ppm | 4 | 1146.9733 | 156 | 76.4978 | Only 1 match | 1 | 23.883 | not any | 7 | 5 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 0 | None
298 | 52 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | 0 | 4072.6936 | -1.78 ppm | 5 | 815.546 | 156 | 76.4978 | Only 1 match | 1 | 24.477 | not any | 7 | 8 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
328 | 81 | Alpha-2-HS-glycoprotein | 1739.8335 | 2587.9152 | 4309.7381 | 0 | 4309.7413 | 0.74 ppm | 4 | 1078.4426 | 156 | 75.2615 | 68 | 1 | 25.199 | not any | 8 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
335 | 89 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | 0 | 4728.8941 | -7.27 ppm | 5 | 946.7861 | 156 | 75.4778 | 47 | 1 | 25.371 | not any | 6 | 9 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
283 | 39 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | -2 | 4072.6759 | -6.13 ppm | 5 | 815.5425 | 156 | 72.4179 | Only 1 match | 1 | 24.09 | not any | 9 | 4 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
396 | 134 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.7469 | -18.83 ppm | 4 | 1151.194 | 156 | 71.1933 | Only 1 match | 1 | 27.275 | not any | 8 | 4 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
273 | 33 | Alpha-2-HS-glycoprotein | 1867.9284 | 2733.9731 | 4583.891 | -2 | 4583.8686 | -4.89 ppm | 4 | 1146.9744 | 156 | 69.358 | Only 1 match | 1 | 23.808 | not any | 6 | 4 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 0 | None
289 | 45 | Alpha-2-HS-glycoprotein | 1867.9284 | 2733.9731 | 4583.891 | -2 | 4583.8384 | -11.47 ppm | 5 | 917.775 | 156 | 69.358 | Only 1 match | 1 | 24.246 | not any | 6 | 5 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 0 | None
293 | 47 | Alpha-2-HS-glycoprotein | 1867.9284 | 1931.6876 | 3781.6055 | 0 | 3781.6165 | 2.92 ppm | 4 | 946.4114 | 156 | 69.358 | Only 1 match | 1 | 24.34 | not any | 6 | 8 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 0 | None
401 | 139 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.8825 | 10.64 ppm | 4 | 1151.2279 | 156 | 69.1592 | 42 | 1 | 27.391 | not any | 6 | 7 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
286 | 43 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | -2 | 4437.8126 | -4.62 ppm | 4 | 1110.4604 | 156 | 68.338 | Only 1 match | 1 | 24.146 | not any | 7 | 6 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
287 | 44 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | 0 | 4437.8331 | 0.01 ppm | 5 | 888.5739 | 156 | 68.338 | Only 1 match | 1 | 24.22 | not any | 5 | 8 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
329 | 83 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | 0 | 4072.6997 | -0.29 ppm | 4 | 1019.1822 | 156 | 68.338 | Only 1 match | 1 | 25.213 | not any | 7 | 6 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
342 | 94 | Alpha-2-HS-glycoprotein | 1739.8335 | 1931.6876 | 3653.5105 | 0 | 3653.5149 | 1.2 ppm | 4 | 914.386 | 156 | 68.1421 | Only 1 match | 1 | 25.531 | not any | 7 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 0 | None
356 | 106 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.8825 | 10.64 ppm | 4 | 1151.2279 | 156 | 68.1421 | 41 | 1 | 26.067 | not any | 7 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
323 | 79 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | 0 | 4728.9343 | 1.24 ppm | 6 | 789.163 | 156 | 67.3181 | 47 | 1 | 25.12 | not any | 5 | 9 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
314 | 65 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | -2 | 4437.8126 | -4.62 ppm | 4 | 1110.4604 | 156 | 66.2981 | Only 1 match | 1 | 24.948 | not any | 7 | 5 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
321 | 75 | Alpha-2-HS-glycoprotein | 1739.8335 | 2733.9731 | 4455.796 | -2 | 4455.7826 | -3.01 ppm | 4 | 1114.9529 | 156 | 66.108 | 26 | 1 | 25.082 | not any | 5 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 0 | None
305 | 58 | Alpha-2-HS-glycoprotein | 1739.8335 | 2077.7455 | 3799.5684 | -2 | 3799.5518 | -4.37 ppm | 4 | 950.8952 | 156 | 64.0739 | Only 1 match | 1 | 24.608 | not any | 5 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 1 | 1 | 0 | None
316 | 68 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | -3 | 4728.8679 | -12.82 ppm | 6 | 789.1519 | 156 | 64.2582 | 55 | 1 | 24.973 | not any | 5 | 7 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
344 | 96 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | 0 | 4728.9237 | -1.02 ppm | 4 | 1183.2382 | 156 | 64.2582 | 58 | 1 | 25.569 | not any | 5 | 7 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
279 | 37 | Alpha-2-HS-glycoprotein | 1867.9284 | 2222.783 | 4072.7009 | 0 | 4072.6936 | -1.78 ppm | 5 | 815.546 | 156 | 63.2382 | Only 1 match | 1 | 23.952 | not any | 8 | 2 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
340 | 92 | Alpha-2-HS-glycoprotein | 1739.8335 | 2222.783 | 3944.6059 | 0 | 3944.5886 | -4.39 ppm | 5 | 789.925 | 156 | 63.0569 | Only 1 match | 1 | 25.495 | not any | 5 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
365 | 115 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | -2 | 4600.8814 | 10.41 ppm | 5 | 921.1836 | 156 | 61.0228 | 29 | 1 | 26.349 | not any | 5 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
308 | 60 | Alpha-2-HS-glycoprotein | 1739.8335 | 2222.783 | 3944.6059 | 0 | 3944.6033 | -0.67 ppm | 4 | 987.1581 | 156 | 60.0058 | 46 | 1 | 24.684 | not any | 6 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
390 | 132 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.8786 | 9.8 ppm | 5 | 921.183 | 156 | 57.9717 | 37 | 1 | 27.109 | not any | 5 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
285 | 42 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | -2 | 4728.9106 | -3.79 ppm | 4 | 1183.2349 | 156 | 57.1184 | 34 | 1 | 24.113 | not any | 6 | 3 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
301 | 55 | Alpha-2-HS-glycoprotein | 1739.8335 | 1931.6876 | 3653.5105 | 0 | 3653.5149 | 1.2 ppm | 4 | 914.386 | 156 | 56.9546 | Only 1 match | 1 | 24.524 | not any | 6 | 4 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 0 | None
319 | 73 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | -2 | 4728.8824 | -9.74 ppm | 6 | 789.1544 | 156 | 55.0784 | 41 | 1 | 25.054 | not any | 5 | 5 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
327 | 80 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | 0 | 4437.8331 | 0.01 ppm | 5 | 888.5739 | 156 | 55.0784 | Only 1 match | 1 | 25.186 | not any | 5 | 4 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
338 | 91 | Alpha-2-HS-glycoprotein | 1739.8335 | 2222.783 | 3944.6059 | -2 | 3944.5914 | -3.68 ppm | 5 | 789.9256 | 156 | 54.9205 | Only 1 match | 1 | 25.44 | not any | 4 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 0 | None
300 | 54 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | -2 | 4728.8804 | -10.17 ppm | 5 | 946.7834 | 156 | 54.0585 | 22 | 1 | 24.491 | not any | 5 | 3 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
397 | 135 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | -3 | 4600.8451 | 2.51 ppm | 5 | 921.1763 | 156 | 53.9035 | 26 | 1 | 27.293 | not any | 4 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
345 | 98 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | -2 | 4728.8804 | -10.17 ppm | 5 | 946.7834 | 156 | 52.0185 | 40 | 1 | 25.577 | not any | 5 | 4 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
363 | 112 | Alpha-2-HS-glycoprotein | 1739.8335 | 2879.0106 | 4600.8335 | 0 | 4600.8786 | 9.8 ppm | 5 | 921.183 | 156 | 50.8523 | 21 | 1 | 26.296 | not any | 3 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
307 | 59 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | 0 | 4437.8361 | 0.68 ppm | 4 | 1110.4663 | 156 | 49.9786 | Only 1 match | 1 | 24.671 | not any | 7 | 0 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
320 | 74 | Alpha-2-HS-glycoprotein | 1867.9284 | 2587.9152 | 4437.8331 | -2 | 4437.7974 | -8.04 ppm | 5 | 888.5668 | 156 | 48.9586 | Only 1 match | 1 | 25.071 | not any | 5 | 3 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 0 | None
311 | 63 | Alpha-2-HS-glycoprotein | 1867.9284 | 2879.0106 | 4728.9285 | 0 | 4728.8941 | -7.27 ppm | 5 | 946.7861 | 156 | 47.9386 | 31 | 1 | 24.808 | not any | 6 | 0 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 0 | None
1671 | 360 | Alpha-2-HS-glycoprotein | 3015.5666 | 2587.9152 | 5585.4712 | -2 | 5585.4438 | -4.9 ppm | 4 | 1397.3682 | 176 | 97.1659 | 90 | 1 | 67.725 | not any | 6 | 17 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 2 | 0 | None
1695 | 377 | Alpha-2-HS-glycoprotein | 3015.5666 | 2879.0106 | 5876.5666 | -2 | 5876.5154 | -8.71 ppm | 4 | 1470.1361 | 176 | 92.1052 | 62 | 1 | 68.454 | not any | 4 | 18 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 3 | 0 | None
1692 | 375 | Alpha-2-HS-glycoprotein | 3015.5666 | 2587.9152 | 5585.4712 | 0 | 5585.3811 | -16.13 ppm | 5 | 1118.0835 | 176 | 67.8137 | 33 | 1 | 68.391 | not any | 4 | 10 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 2 | 0 | None
1691 | 372 | Alpha-2-HS-glycoprotein | 3015.5666 | 2222.783 | 5220.339 | 0 | 5220.3909 | 9.94 ppm | 4 | 1306.105 | 176 | 57.6923 | 50 | 1 | 68.341 | not any | 5 | 5 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 5 | 4 | 0 | 2 | 0 | None
1070 | 264 | Alpha-2-HS-glycoprotein | 3015.5666 | 2222.783 | 5220.339 | -2 | 5220.321 | -3.45 ppm | 4 | 1306.0875 | 176 | 49.5951 | 45 | 1 | 47.894 | not any | 3 | 7 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 5 | 4 | 0 | 2 | 0 | None
1660 | 358 | Alpha-2-HS-glycoprotein | 3015.5666 | 2897.0463 | 5894.6023 | 0 | 5894.5557 | -7.91 ppm | 4 | 1474.6462 | 176 | 49.5951 | Only 1 match | 1 | 67.467 | not any | 1 | 9 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 7 | 5 | 3 | 1 | 0 | None
1689 | 370 | Alpha-2-HS-glycoprotein | 3015.5666 | 2587.9152 | 5585.4712 | 0 | 5585.3809 | -16.17 ppm | 4 | 1397.3525 | 176 | 47.5708 | 22 | 1 | 68.314 | not any | 3 | 6 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 2 | 0 | None
GP Compound MZ | Glycosylation Site Position | Mass Match Score | RT | Peptide Matches (Score 5) | Backbone Matches | Peptide Sequence | Hex | HexNAc | DeoxyHex | Sialic Acid (Neu5Ac and Neu5Gc) | composition |  | site 156
1019.1822 | 156 | 120.3565 | 24.411 | 12 | 12 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 5_4_0_2 |  | 5_4_0_2
987.1581 | 156 | 103.7388 | 25.761 | 10 | 11 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 5_4_0_2 |  | 5_4_0_1
946.4114 | 156 | 85.6775 | 23.634 | 7 | 10 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 5_4_0_1 |  | 6_5_0_3
1183.2382 | 156 | 85.6775 | 25.004 | 8 | 9 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 6_5_0_3 |  | 6_5_1_2
1114.9492 | 156 | 85.4319 | 25.271 | 7 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 6_5_1_2 |  | 6_5_0_2
1110.4663 | 156 | 84.6576 | 25.248 | 9 | 7 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 6_5_0_2 |  | 5_4_1_1
1151.2279 | 156 | 83.3978 | 26.757 | 7 | 10 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 6_5_0_3
950.9034 | 156 | 77.2956 | 24.546 | 7 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 1 | 1 | 5_4_1_1
1146.9733 | 156 | 76.4978 | 23.883 | 7 | 5 | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 6_5_1_2
1078.4426 | 156 | 75.2615 | 25.199 | 8 | 5 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 6_5_0_2
914.386 | 156 | 68.1421 | 25.531 | 7 | 6 | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 5_4_0_1
1397.3682 | 176 | 97.1659 | 67.725 | 6 | 17 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 2 | 6_5_0_2 |  | 6_5_0_2
1470.1361 | 176 | 92.1052 | 68.454 | 4 | 18 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 3 | 6_5_0_3 |  | 6_5_0_3
1306.105 | 176 | 57.6923 | 68.341 | 5 | 5 | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 5 | 4 | 0 | 2 | 5_4_0_2 |  | 5_4_0_2
[6 empty] | RPTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 5 | 4 | 0 | 2 | 5_4_0_2
[6 empty] | RPTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 6 | 5 | 0 | 3 | 6_5_0_3
|  |  |  | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 5_4_0_2
|  |  |  | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 2 | 5_4_0_2
|  |  |  | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 5_4_0_1
|  |  |  | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 6_5_0_3
|  |  |  | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 6_5_1_2
|  |  |  | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 6_5_0_2
|  |  |  | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 3 | 6_5_0_3
|  |  |  | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 1 | 1 | 5_4_1_1
|  |  |  | K-L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 1 | 2 | 6_5_1_2
|  |  |  | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 6 | 5 | 0 | 2 | 6_5_0_2
|  |  |  | L-C^carb'ed-P-D-C^carb'ed-P-L-L-A-P-L-N-D-S-R | 5 | 4 | 0 | 1 | 5_4_0_1
|  |  |  | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 2 | 6_5_0_2
|  |  |  | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 6 | 5 | 0 | 3 | 6_5_0_3
|  |  |  | V-V-H-A-V-E-V-A-L-A-T-F-N-A-E-S-N-G-S-Y-L-Q-L-V-E-I-S-R | 5 | 4 | 0 | 2 | 5_4_0_2
|  |  |  | RPTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 5 | 4 | 0 | 2 | 5_4_0_2
|  |  |  | RPTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 6 | 5 | 0 | 3 | 6_5_0_3

## plotting EIC and nonfragments
| GP Actual Mass | z | mzList
| 4072.6997 | 4 | 1019.6749235, |  | 1019.6749235,987.6508235,946.9041235,1183.7309235,1115.4419235,1110.9590235,1151.7206235,1019.679586,946.8996485,951.3961235,1147.4660235,1078.9353235,816.0387236,947.2788236,816.0351836,1151.6867235,1147.4671485,918.2676836,1110.9531485,889.0666236,914.8787235,789.6557235,1115.4456485,951.3879485,789.6446485,790.4177236,921.6762836,921.6757236,1183.7276485,789.6470735,790.4182836,947.2760836,921.6690136,889.0594836,1397.8609485,1470.6288485,1118.5762236,1306.5977235,1306.5802485,1475.1389235,1397.8452235,
| 3944.6033 | 4 | 987.6508235,
| 3781.6165 | 4 | 946.9041235,
| 4728.9237 | 4 | 1183.7309235,
| 4455.7677 | 4 | 1115.4419235,
| 4437.8361 | 4 | 1110.9590235,
| 4600.8825 | 4 | 1151.7206235,
| 4072.7183 | 4 | 1019.679586,
| 3781.5986 | 4 | 946.8996485,
| 3799.5845 | 4 | 951.3961235,
| 4583.8641 | 4 | 1147.4660235,
| 4072.6936 | 5 | 816.0387236,
| 4309.7413 | 4 | 1078.9353235,
| 4728.8941 | 5 | 947.2788236,
| 4072.6759 | 5 | 816.0351836,
| 4600.7469 | 4 | 1151.6867235,
| 4583.8686 | 4 | 1147.4671485,
| 4583.8384 | 5 | 918.2676836,
| 4437.8126 | 4 | 1110.9531485,
| 4437.8331 | 5 | 889.0666236,
| 3653.5149 | 4 | 914.8787235,
| 4728.9343 | 6 | 789.6557235,
| 4455.7826 | 4 | 1115.4456485,
| 3799.5518 | 4 | 951.3879485,
| 4728.8679 | 6 | 789.6446485,
| 3944.5886 | 5 | 790.4177236,
| 4600.8814 | 5 | 921.6762836,
| 4600.8786 | 5 | 921.6757236,
| 4728.9106 | 4 | 1183.7276485,
| 4728.8824 | 6 | 789.6470735,
| 3944.5914 | 5 | 790.4182836,
| 4728.8804 | 5 | 947.2760836,
| 4600.8451 | 5 | 921.6690136,
| 4437.7974 | 5 | 889.0594836,
| 5585.4438 | 4 | 1397.8609485,
| 5876.5154 | 4 | 1470.6288485,
| 5585.3811 | 5 | 1118.5762236,
| 5220.3909 | 4 | 1306.5977235,
| 5220.321 | 4 | 1306.5802485,
| 5894.5557 | 4 | 1475.1389235,
| 5585.3809 | 4 | 1397.8452235,
|  | number of C |  | realmass |  | 5402_mass | z=4 | z=5 | 6503_mass | z=4 | z=5 | z=6
RPTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 3556.7177 | 2 | 114.043 | 3670.7607 |  | 5875.5437 | 1469.8859 | 1176.1087 | 6531.7713 | 1633.9428 | 1307.3543 | 1089.6286
RPTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 3556.7177 | 1 | 57.0215 | 3613.7392 |  | 5818.5222 | 1455.6306 | 1164.7044 | 6474.7498 | 1619.6875
PTGEVYDIEIDTLETTCHVLDPTPLANCSVR | 3400.6166 | 2 | 114.043 | 3514.6596 |  | 5719.4426 | 1430.8607 | 1144.8885 | 6375.6702 | 1594.9176 | 1276.134 | 1063.6117
KLCPDCPLLAPLNDSR | 1753.8854 | 2 | 114.043 | 1867.9284 |  | 4072.7114 | 1019.1779 | 815.5423 | 4728.939 | 1183.2348 | 946.7878 | 789.1565
[6 empty] | 1633.942, 1307.35, 1619.68, 1295.949 | 1307.3543
[6 empty] | 1619.6875 | 1295.95 |  |  |  | 1307.4251
-5.3846e-05
-5.3846